## Instructions
Title: | Electrical Remedial Actions_Upload Template
Version: | 1 | Date of Issue: | 2024-02-22
Instructions
This template MUST be used for uploading remedial action survey data to the UoC SharePoint Remedial Actions site.
Survey data should be entered in Data worksheet, click on the black Data tab below.
Additional rows can be inserted in the table as required (either right click on the row number and select insert or go to the Home tab on the menu ribbon, click on the Insert dropdown and select Insert Sheet Rows).
The completed file should be renamed e.g; Electrical Remedial Actions_28112022_1.0 Electrical Remedial Actions_Date_Version) and sent to the relevant UoC contact or copied into the Contractor Upload folder.
Data should be entered in the Data worksheet as per the below example.
Data entry and formating | Do not use forced carraige returns (ALT+Enter) or bullet points. You must always use the values available in the dropdown lists when available (currently Source of Action, Remedial Action Description, Priority and Timescale).
Ensure that lines that have data in are completed in full. Speak to your UoC contact if you are unsure of any requirements.
Make sure you are always using the most current version of the upload spreadsheet.
Example Data:
Unique Building Code | Asset No | Door Name | Micad Space Reference | Location of Asset | Originating Work Order Number | Date when Survey / Inspection was Carried Out | Report Item Number | Report Section | Source of Action | Contractor's Fault Description | Remedial Action Description | Priority | Timescale | Quote Ref
A012 |  |  | A012-00-0001 | Comms room | 100000 | 2021-09-28 |  |  | UPS Reactive | UPS in alarm | Fault Investigation | 2 | Short Term (<3 months) | QT00123-21
Field Information:
Unique Building Code |  |  | UoC building code (must be a single value eg; A011)
Asset No |  |  | University accepted asset number (if known). Use UoC barcode/QR code number if one is attached to asset.
Door Name |  |  | The name of the room that the building users use
Micad Space Reference |  |  | Unique space reference
Location of Asset |  |  | Description of where the asset or fault is located
Originating Work Order Number |  |  | Work Order Number (if applicable)
Date When Survey/Inspection carried Out |  |  | Survey/Inspection Date (dd/mm/yyyy)
Report Item Number |  |  | Report item ref. (if applicable)
Report Section |  |  | Report section ref. (if applicable)
Source of Remedial Action |  |  | The service or inspection during which the remedial action was identified (select from dropdown list)
Contractor's Fault Description |  |  | Fault description
Remedial Action Description |  |  | Remedial action description (select from dropdown list, based upon Source of Remedial Action)
Priority |  |  | Priority (select from dropdown list)
Timescale |  |  | Timescale - includes undertaken during inspection (select from dropdown list)
Quote Ref |  |  | The quote number for the work required to repair the fault

## Data
Unique Building Code | Asset No | Door Name | Micad Space Reference | Location of Asset | Originating Work Order Number | Date when Survey / Inspection was Carried Out | Report Item Number | Report Section | Source of Action | Contractor's Fault Description | Remedial Action Description | Priority | Timescale | Quote Ref

## Lookups (hidden)
Source of Action | Priority | Timescale | Generator PM Inspection | Generator Reactive | UPS PM Inspection | UPS Reactive
Generator PM Inspection | 0 | Immediate | Starting Batteries Replacement | Starting Batteries Replacement | Fault Investigation | Fault Investigation
Generator Reactive | 1 | Short Term (<3 months) | Cooling System Repair/Service | Cooling System Repair/Service | Battery Health Check/Inspection | Battery Health Check/Inspection
UPS PM Inspection | 2 | Medium term (3-12 months) | Engine Service | Engine Service | Battery Replacement | Battery Replacement
UPS Reactive | 3 | Long term (>12 months/refurbishment) | Engine Repair | Engine Repair | CAP Health Check | CAP Health Check
|  | Fixed at time of inspection | Containment/Canopy Repair/Cleaning | Containment/Canopy Repair/Cleaning | Major Service - CAPS & FANS | Major Service - CAPS & FANS
|  |  | Controls Repair/Replacement | Controls Repair/Replacement | Replacement UPS | Replacement UPS
|  |  | Testing/Comissioning/De-Comissioning | Testing/Comissioning/De-Comissioning | Removal/Disposal of UPS | Removal/Disposal of UPS
|  |  | Fuel System Repair/Service | Fuel System Repair/Service | New Unit Installation | New Unit Installation
|  |  | Temporary Replacement Generator | Temporary Replacement Generator | Installation Modification | Installation Modification
|  |  | Other | Other | Installation Testing | Installation Testing
[5 empty] | Load Survey | Load Survey