## Instructions
Title: | Fire Remedial Actions_Upload Template
Version: | 1.1 | Date of Issue: | 2024-01-26
Instructions
This template MUST be used for uploading remedial action survey data to the UoC SharePoint Remedial Actions site.
Survey data should be entered in Data worksheet, click on the black Data tab below.
Additional rows can be inserted in the table as required (either right click on the row number and select insert or go to the Home tab on the menu ribbon, click on the Insert dropdown and select Insert Sheet Rows).
The completed file should be renamed e.g; Fire Remedial Actions_28112022_1.0 (Fire Remedial Actions_Date_Version) and sent to the relevant UoC contact or copied into the Contractor Upload folder.
Data should be entered in the Data worksheet as per the below example.
Data entry and formating | Do not use forced carraige returns (ALT+Enter) or bullet points. You must always use the values available in the dropdown lists when available (currently Source of Action, Remedial Action Description, Priority and Timescale).
Ensure that lines that have data in are completed in full. Speak to your UoC contact if you are unsure of any requirements.
Make sure you are always using the most current version of the upload spreadsheet.
Example Data:
Unique Building Code | Asset No | Door Name | Micad Space Reference | Location of Asset | Originating Work Order Number | Date when Survey / Inspection was Carried Out | Report Item Number | Report Section | Source of Action | Contractor's Fault Description | Remedial Action Description | Priority | Timescale | Quote Ref
A012 |  |  | A012-01-0001 | Throughout first floor | 100000 | 2021-09-28 | 3 | 20.2 | Fire Risk Assessment | The provision of emergency lighting should be reviewed to ensure that it is sufficient for evening events and for coverage of the staircases throughout the day. |  | 2 | Short Term (<3 months) | QT00123-21
A012 |  |  | A012-00-0001 | At end of corridor leading to external fire escape stairs | 100001 | 2021-09-28 | 4 | 21.2 | Fire Risk Assessment | The illuminated ‘FIRE EXIT’ signs should be replaced with signs conforming to the recommendations of BS 5499-4 and BS EN ISO 7010, displaying pictograms. Preferably, these should be maintained, illuminated signs, otherwise specific emergency lighting will be required to illuminate the signage. |  | 2 | (Medium Term (3-12 months)
B019 |  | Hicks Room | B019-01-0006 | 1st Floor | 100002 | 2021-11-16 | 1 | 8.3 | Fire Risk Assessment | In Hicks Room, at first floor level, consideration should be given to establishing a policy either prohibiting the use of personal electrical appliances or enforcing that such appliances to be included in the electrical appliance testing regime. |  | 3 | Long Term (>12 months/refubrishment)
Field Information:
Unique Building Code |  |  | UoC building code (must be a single value eg; A011)
Asset No |  |  | University accepted asset number (if known). Use UoC barcode/QR code number if one is attached to asset.
Door Name |  |  | The name of the room that the building users use
Micad Space Reference |  |  | Unique space reference
Location of Asset |  |  | Description of where the asset or fault is located
Originating Work Order Number |  |  | Work Order Number (if applicable)
Date When Survey/Inspection carried Out |  |  | Survey/Inspection Date (dd/mm/yyyy)
Report Item Number |  |  | Report item ref. (if applicable)
Report Section |  |  | Report section ref. (if applicable)
Source of Remedial Action |  |  | The service or inspection during which the remedial action was identified (select from dropdown list)
Contractor's Fault Description |  |  | Fault description
Remedial Action Description |  |  | Remedial action description (select from dropdown list, based upon Source of Remedial Action)
Priority |  |  | Priority (select from dropdown list)
Timescale |  |  | Timescale - includes undertaken during inspection (select from dropdown list)
Quote Ref |  |  | The quote number for the work required to repair the fault

## Data
Unique Building Code | Asset No | Door Name | Micad Space Reference | Location of Asset | Originating Work Order Number | Date when Survey / Inspection was Carried Out | Report Item Number | Report Section | Source of Action | Contractor's Fault Description | Remedial Action Description | Priority | Timescale | Quote Ref

## Lookups (hidden)
Source of Action | Priority | Timescale | AOVs\Smoke Vents | Dry Riser Inspections | Emergency Lighting Full Discharge Test | Emergency Voice Communication System EVCS\Refuge Systems | Evac Chairs and Stair Climbers | Evac Lifts | Fire\Smoke Dampers | Fire Curtains and Shutters | Fire Detection and Alarm System | Fire Detection and Alarm Systems Including CO | Fire Extinguisher Maintenance | Fire Hydrants | Fire Risk Assessment | Sprinkler System Inspections | Suppression System Room Integrity Test | Suppression System Test
AOVs\Smoke Vents | 0 | Immediate | Access Restriction | Replace ARV | Additional Exit Unit | Other | Replace | Replace | Access Restriction | Replace Batteries | Additional Detector | Additional Detector | Remove Powder | Other |  | Repair Leak | Fire Stopping | Replace Extinguishant
Dry Riser Inspections | 1 | Short Term (<3 months) | Replace Vent | Replace Drain Valve | Additional Light Unit |  | Other | Other | Replace Actuator | Other | Additional Manual Call Point | Additional Manual Call Point | Replace CO2 |  |  | Replace Gasket | Other | Replace Valve
Emergency Lighting Full Discharge Test | 2 | Medium term (3-12 months) | Other |  | Replace Batteries |  |  |  | Replace Damper |  | Additional Sounder | Additional Sounder | Replace Fire Blanket |  |  | Replace Pump |  | Other
Emergency Voice Communication System EVCS\Refuge Systems | 3 | Long term (>12 months/refurbishment) |  |  | Replace Bulbs |  |  |  | Replace Vent |  | Replace Batteries | Replace Batteries | Replace Foam |  |  | Other
Evac Chairs and Stair Climbers |  | Fixed at time of inspection |  |  | Replace Exit Unit |  |  |  | Other |  | Replace Detector | Replace Detector | Replace Powder
Evac Lifts |  |  |  |  | Replace Light Unit | [5 empty] | Replace Manual Call Point | Replace Manual Call Point | Replace Water
Fire Curtains and Shutters |  |  |  |  | Other | [5 empty] | Replace Panel | Replace Panel | Replace Wet Chemical
Fire Detection and Alarm System | [10 empty] | Replace Sounder | Replace Sounder | Supply Cover
Fire Detection and Alarm Systems Including CO | [10 empty] | VESDA - Replace Filter | VESDA - Replace Filter | Supply Stand
Fire Extinguisher Maintenance | [10 empty] | VESDA - Replace Pump | VESDA - Replace Pump | Other
Fire Hydrants | [10 empty] | Zone Plan | Zone Plan
Fire Risk Assessment | [10 empty] | Other | Other
Fire\Smoke Dampers
Sprinkler System Inspections
Suppression System Room Integrity Test
Suppression System Test