## Instructions
Title: | Mechanical Remedial Actions_Upload Template
Version: | 1.1 | Date of Issue: | 2024-05-08
Instructions
This template MUST be used for uploading remedial action survey data to the UoC SharePoint Remedial Actions site.
Survey data should be entered in Data worksheet, click on the black Data tab below.
Additional rows can be inserted in the table as required (either right click on the row number and select insert or go to the Home tab on the menu ribbon, click on the Insert dropdown and select Insert Sheet Rows).
The completed file should be renamed e.g; Mechanical Remedial Actions_28112022_1.0 Generator Remedial Actions_Date_Version) and sent to the relevant UoC contact or copied into the Contractor Upload folder.
Data should be entered in the Data worksheet as per the below example.
Data entry and formating | Do not use forced carraige returns (ALT+Enter) or bullet points. You must always use the values available in the dropdown lists when available (currently Source of Action, Remedial Action Description, Priority and Timescale).
Ensure that lines that have data in are completed in full. Speak to your UoC contact if you are unsure of any requirements.
Make sure you are always using the most current version of the upload spreadsheet.
Example Data:
Unique Building Code | Asset No | Door Name | Micad Space Reference | Location of Asset | Originating Work Order Number | Date when Survey / Inspection was Carried Out | Report Item Number | Report Section | Source of Action | Contractor's Fault Description | Remedial Action Description | Priority | Timescale | Quote Ref
A012 |  |  | A012-00-0001 | Reception area | 100000 | 2021-09-28 |  |  | Air Conditioning | Since refurbishment of area current system is no longer adequate. | Replace System | 3 | Long term (>12 months/refurbishment) | QT00123-21
Field Information:
Unique Building Code |  |  | UoC building code (must be a single value eg; A011)
Asset No |  |  | University accepted asset number (if known). Use UoC barcode/QR code number if one is attached to asset.
Door Name |  |  | The name of the room that the building users use
Micad Space Reference |  |  | Unique space reference
Location of Asset |  |  | Description of where the asset or fault is located
Originating Work Order Number |  |  | Work Order Number (if applicable)
Date When Survey/Inspection carried Out |  |  | Survey/Inspection Date (dd/mm/yyyy)
Report Item Number |  |  | Report item ref. (if applicable)
Report Section |  |  | Report section ref. (if applicable)
Source of Remedial Action |  |  | The service or inspection during which the remedial action was identified (select from dropdown list)
Contractor's Fault Description |  |  | Fault description
Remedial Action Description |  |  | Remedial action description (select from dropdown list, based upon Source of Remedial Action)
Priority |  |  | Priority (select from dropdown list)
Timescale |  |  | Timescale - includes undertaken during inspection (select from dropdown list)
Quote Ref |  |  | The quote number for the work required to repair the fault

## Data
Unique Building Code | Asset No | Door Name | Micad Space Reference | Location of Asset | Originating Work Order Number | Date when Survey / Inspection was Carried Out | Report Item Number | Report Section | Source of Action | Contractor's Fault Description | Remedial Action Description | Priority | Timescale | Quote Ref

## Lookups (hidden)
Source of Action | Priority | Timescale | Actuators | Air Conditioning | Air Handling Units | Automated Doors and Gates | Belts | Boilers and Heat Generators | BMS | Burners | Chillers Water | Chillers DX | Cold Rooms and Food Storage | Comms and PA Systems | Compressors | Condensers | Control Panels | Duct Work | Evaporators | Fans | Filters | Flues | Fountains and Water Dispensers | Grilles and Diffusers | Hazardous Area Electrics | Heat Emitters | Heat Rejection Systems | Humidifiers and Dehumidifiers | Ice Machines | Insulation | Lighting | Lightning Protection | Mobility | Motors | Pipework Systems | Pneumatics | Portable Equipment | Pumps | Refrigerant Distribution Systems | Room Air Conditioners | RO Unit | Sanitary and Waste Water Collection | Security Systems | Sensors and Switching Devices | Sewage Treatment | Solar Panels \ PV | Split Systems Including Heat Pumps | Starters | Storage Tanks | Switches | Terminal Units | Vacuum Systems | Valves Automated Control | Ventilation | Workplace Safety Equipment
Actuators | 0 | Immediate | Replace Motor | Re-gas | Repair / Replace Heating Coil | Repair / Replace Motor | Replace Belts | Replace Heat Exchanger | Replace Sensors | Replace PCB | Replace / Repair Coil | Replace PCB | Replace PCB | Repair / Replace PCB | Compressor Replacement | Repair / Replace Coil | Replace Breaker | Install Access Hatch | Clean / Replace Filter | Repair / Replace Blades | Replace | Repair / Replace Section | Repair / Replace Tap | Recalibrate Air Direction | Repair / Replace | Repair / Replace Unit | Repair / Replace Heat Exchanger | Replace Heating Element | Repair / Replace Compressor | Repair / Replace | Replace Controller / PCB / Ballast | Improve Bonding | Other | Rewind | Replace Section | Replace Section | Repair / Replace | Replace Pump Head | Repair Leak / Recover Refrigerant / Re-gas | Clean Coil | Filters | Clean Tanks | Replace Sensor | Repair / Replace | Repair / Replace | Clean | Replace PCB | Repair / Replace | Clean / Chlorinate | Repair / Replace First Fix | Repair / Replace First Fix | Decontaminate Pipework | Repair / Replace Actuator | Re-Balance | Repair / Replace
Air Conditioning | 1 | Short Term (<3 months) | Replace Actuator | Replace System | Repair / Replace Cooling Coil | Repair / Replace Sensor | Re-Tension Belts | Descale Heat Exchanger | Reconfigure Graphics |  | Repair Refrigerant Leak and Re-gas | Replace / Repair Coil | Replace / Repair Coil | Repair / Replace Amplifier | Compressor Repair | Refrigerant Recharge | Replace Contactor | Clean | Replace / Repair Condense Pump | Repair / Replace Inverter | Test | Replace Seals | Repair / Replace Chiller Unit | Clean | Other | Repair / Replace Fan Motor | Repair / Replace Motor | Other | Replace PCB | Install | Replace Diffuser / Cover | Remedials to Earth Pit - Drainage |  | Repair / Replace | Increase Diameter | Increase Diameter | Other | Rewind | Install Leak Detection | Remediate Vent Outlet | Membrane | Clean / Replace Filter | Recommission | Other | Other | Install Bird Proofing | Replace / Repair Coil | Other | Replace Section | Repair / Replace Second Fix | Repair / Replace Second Fix | Install New Flask | Recommission | Repair / Replace | Other
Air Handling Units | 2 | Medium term (3-12 months) | Replace Actuator Component | Requires Manufacturer Intervention | Repair / Replace Frost Coil | Realign Door / Gate | Other | Replace Ignition Probe / Electrode / Thermocouple | Reprogramme Head End |  | Repair / Replace Inverter | Repair Refrigerant Leak and Re-gas | Repair Refrigerant Leak and Re-gas | Repair / Replace Speaker | Other | Leak Repair | Repair / Replace Controller | Replace Flexible Duct | Repair / Replace Air Direction Blade / Motor | Repair / Replace Motor | Other | Recalibrate / Balance Dampers | Repair / Replace Water Heater | Repair / Replace |  | Repair / Replace TRV | Repair / Replace PCB or Controller |  | Other | Provide Jacket | Replace Lamp / LED Cluster | Remedials to Earth Pit - High Impedance |  | Replace Bearings | Reduce Diameter | Reduce Diameter |  | Replace Pump | Repair / Replace Distribution Component | Repair / Replace | Pump | Other | Replace Sounder |  |  | Repair / Replace Inverter | Repair Refrigerant Leak and Re-gas |  | Repair / Replace Ladder | Other | Other | Repair / Replace Vac Pump | Other | Other
Automated Doors and Gates | 3 | Long term (>12 months/refurbishment) | Rewire | Other | Repair / Replace Trap | Repair / Replace Runners |  | Replace PCB | Replace Controller |  | Requires Manufacturer Intervention | Repair / Replace Inverter | Repair / Replace Inverter | Rewire |  | Replace PRV and Certificate | Upgrade | Seal | Repair / Replace Fan Motor | Other |  | Clean | Other | Other |  | Repair / Replace PCB | Other |  |  | Other | Other | Additional Earthing Point |  | Other | Add Isolation | Add Isolation |  | Repair / Replace | Other | Other | Other |  | Redcare Connection Remediation |  |  | Resolve Comms Issue | Repair / Replace Inverter |  | Repair / Replace Inspection Hatch |  |  | Other
Belts |  | Fixed at time of inspection | Other |  | Replace Filters | Other |  | Replace Expansion Vessel | Upgrade Controller |  | Repair / Replace Control or Isolating Valves | Requires Manufacturer Intervention | Requires Manufacturer Intervention |  |  | Replace PCB | Other | Cap-Off | Replace Fan |  |  | Replace Installation |  |  |  | Rewire | [8 empty] | Re-route | Re-route |  | Other |  |  |  |  | Repair / Replace Control Panel |  |  | Other | Requires Manufacturer Intervention |  | Repair / Replace Mesh
Boilers and Heat Generators |  |  |  |  | Replace Belts |  |  | Other | Other |  | Replace PRV and Certificate | Repair / Replace Control or Isolating Valves | Repair / Replace Control or Isolating Valves |  |  | Repair / Replace Compressor |  | Other | Other |  |  | Other |  |  |  | Resolve Comms | [8 empty] | Other | Other | [6 empty] | Other |  |  |  | Repair / Replace Control or Isolating Valves |  | Replace Tank
BMS |  |  |  |  | Replace Sensors | [5 empty] | Repair / Replace Chiller Pump | Replace PRV and Certificate | Replace PRV and Certificate |  |  | Other | [9 empty] | Other | [20 empty] | Replace PRV and Certificate |  | Other
Burners |  |  |  |  | Repair Thermal Wheel | [5 empty] | Repair / Replace Compressor | Repair / Replace Compressor | Repair / Replace Compressor | [33 empty] | Repair / Replace Compressor
Chillers Water |  |  |  |  | Repair Thermal Wheel | [5 empty] | Other | Other | Repair / Replace Entrapment Alarm | [33 empty] | Repair / Replace Motor
Chillers DX |  |  |  |  | Other | [7 empty] | Repair / Replace Emergency Door Release | [33 empty] | Repair / Replace Fan
Cold Rooms and Food Storage | [12 empty] | Fabric Repair to Cold Room | [33 empty] | Recommission
Comms and PA Systems | [12 empty] | Other | [33 empty] | Requires Manufacturer Intervention
Compressors | [46 empty] | Other
Condensers
Control Panels
Duct Work
Evaporators
Fans
Filters
Flues
Fountains and Water Dispensers
Grilles and Diffusers
Hazardous Area Electrics
Heat Emitters
Heat Rejection Systems
Humidifiers and Dehumidifiers
Ice Machines
Insulation
Lighting
Lightning Protection
Mobility
Motors
Pipework Systems
Pneumatics
Portable Equipment
Pumps
Refrigerant Distribution Systems
Room Air Conditioners
RO Unit
Sanitary and Waste Water Collection
Security Systems
Sensors and Switching Devices
Sewage Treatment
Solar Panels \ PV
Split Systems Including Heat Pumps
Starters
Storage Tanks
Switches
Terminal Units
Vacuum Systems
Valves Automated Control
Ventilation
Workplace Safety Equipment