## Findings
Type | Severity | Short Description | Details | Recommended Actions | Document Reference | Page Reference | Number of Occurences

## Version Notes
Template version | 1.0
Template Type | Default
Column heading | Explanation | Data type | Example | Mandatory
Type | The type of finding | (See Types below) | Recommendation | Yes
Severity | The severity code of this Finding | (See Severity Codes below) |  | For Defect/Hazard only
Short Description | A short text description | (Select appropriate finding in column C on first sheet) | Starting Batteries Replacement | Yes
Details | A full text description - please include asset and location if known | String | Batteries are out of date | No
Recommended Actions | The recommended actions laid out in the inspection report | String | Replace batteries | No
Document Reference | The reference number for a document which contains the finding, where applicable | String | DOC-1234 | No
Page Reference | The page number within the Document which contains the finding where the finding can be seen, where applicable | String | Page 5 | No
Number of Occurences | The number of occurences of the issue/situation identified by the finding | Integer | 12 | No (1 assumed if omitted)
Types
Satisfactory |  | Satisfactory is to be used for any finding/remedial completed during visit
Recommendation |  | Recommendation is for any recommended works
Defect/Hazard |  | Defect/Hazard is for any significant findings that are a hazard/defect
Severity Codes
Immediate
High - within 1 month
Moderate - within 3 months
Low - within 12 months
Short Description
Starting Batteries Replacement
Cooling System Repair/Service
Engine Service
Engine Repair
Containment/Canopy Repair/Cleaning
Controls Repair/Replacement
Testing/Comissioning/De-Comissioning
Fuel System Repair/Service
Temporary Replacement Generator
Other