## Findings
Type | Severity | Short Description | Details | Recommended Actions | Document Reference | Page Reference | Number of Occurences | Time Qualified Defect | Affects Compliance

## Version Notes
Template version | V2.0
Template Type | Default
Column heading | Explanation | Data type | Example | Mandatory
Type | The type of finding | (See Types and which type is to be used for which severity below) | Recommendation | Yes
Severity | The severity code of this Finding | (See Severity Codes below) | C3 - Improvement Recommended | For Defect/Hazard only
Short Description | A short text description - please include the severity prefix (i.e C1, C2 etc.) | String | C3 - 4L1 Heating FCU flex is not secured into cord grip | Yes
Details | A full text description - please include asset and location if known | String | South Room Small Office, DB OS10 | No
Recommended Actions | The recommended actions laid out in the inspection report | String | Requires securing | No
Document Reference | The reference number for a document which contains the finding, where applicable | String | DOC-1234 | No
Page Reference | The page number within the Document which contains the finding where the finding can be seen, where applicable | String | Page 5 | No
Number of Occurences | The number of occurences of the issue/situation identified by the finding | Integer | 12 | No (1 assumed if omitted)
Time Qualified Defect | Expiry date for the finding to be completed by, in line with the severity codes. (This date will cause the inspection/test to become non-compliant if unresolved) | Date | 27/08/2025 | No
Affects Compliance | Indicates whether the Defect or Hazard finding recorded against a Maintenance Job impacts compliance. When importing Findings for Compliance Jobs, the "Affects Compliance" field is always set to "Yes," so any value provided in this column will be ignored. | Boolean | TRUE | No
Types | Affects Compliance
Satisfactory | Yes | All C1 findings should be marked as satisfactory as fixed/isolated during inspection
Recommendation | No | All C3 findings and any observations should be marked as Recommendations
Defect/Hazard |  | All C2 and FI findings should be marked as Defect/Hazard
Severity Codes
C1 - Danger Present (Immediate)
C2 - Potentially Dangerous (Within 6 - 12 weeks)
C3 - Improvement Recommended
FI - Further Investigation