## Findings
Type | Severity | Short Description | Details | Recommended Actions | Document Reference | Page Reference | Number of Occurences | Source of Action

## Version Notes
Template version | 1.0
Template Type | Default
Column heading | Explanation | Data type | Example | Mandatory
Type | The type of finding | (See Types below) | Defect/Hazard | Yes
Severity | The severity code of this Finding | (See Severity Codes below) | High - within 1 month | For Defect/Hazard only
Short Description | A short description | Please select the source of action from J2 on the first sheet, and then select the appropriate finding in column C | Replace Fire Alarm System | Yes
Details | A full text description - please include asset and location if known | String | During the annual inspection, it was observed that the fire alarm panel is not working. Location: Ground Floor Lobby | No
Recommended Actions | The recommended actions laid out in the inspection report | String | Replacement required | No
Document Reference | The reference number for a document which contains the finding, where applicable | String | DOC-1234 | No
Page Reference | The page number within the Document which contains the finding where the finding can be seen, where applicable | String | Page 5 | No
Number of Occurences | The number of occurences of the issue/situation identified by the finding | Integer | 12 | No (1 assumed if omitted)
Types
Satisfactory |  | Satisfactory is to be used for any finding/remedial completed during visit
Recommendation |  | Recommendation is for any recommended works
Defect/Hazard |  | Defect/Hazard is for any significant findings that are a hazard/defect
Severity Codes
Immediate
High - within 1 month
Moderate - within 3 months
Low - within 6 months
Source of Action | AOVs\Smoke_Vents | Dry_Riser_Inspections | Emergency_Lighting_Full_Discharge_Test | Emergency_Voice_Communication_System_EVCS\Refuge_Systems | Evac_Chairs_and_Stair_Climbers | Evac_Lifts | Fire\Smoke_Dampers | Fire_Curtains_and_Shutters | Fire_Detection_and_Alarm_System | Fire_Detection_and_Alarm_Systems_Including_CO | Public_Address_and_Voice_System | Fire_Extinguisher_Maintenance | Fire_Hydrants | Sprinkler_System_Inspections | Suppression_System_Room_Integrity_Test | Suppression_System_Test
AOVs\Smoke_Vents | Access Restriction | Replace ARV | Additional Exit Light Unit | Other | Replace Chair | Replace | Access Restriction | Replace Batteries | Additional Detector | Replace Batteries | Other | Remove Powder | Replace Hydrant | Repair Leak | Fire Stopping | Replace Extinguishant
Dry_Riser_Inspections | Replace Vent | Replace Drain Valve | Additional Light Unit |  | Replace Battery (Motorised Chair) | Other | Replace Actuator | Replace Curtain | Additional Manual Call Point | Replace Detector |  | Replace CO2 | Other | Replace Gasket | Other | Replace Cylinders
Emergency_Lighting_Full_Discharge_Test | Other | Replace the Washer / Gasket | Replace Batteries |  | Other |  | Replace Damper | Replace Shutter | Additional Sounder | Other |  | Replace Fire Blanket |  | Replace Pump |  | Replace Valve
Emergency_Voice_Communication_System_EVCS\Refuge_Systems |  |  | Replace Bulbs |  |  |  | Replace Vent | Other | Replace Batteries |  |  | Replace Foam |  | Other |  | Other
Evac_Chairs_and_Stair_Climbers |  |  | Replace Exit Light Unit |  |  |  | Other |  | Replace Detector |  |  | Replace Powder
Evac_Lifts |  |  | Replace Light Unit | [5 empty] | Replace Manual Call Point |  |  | Replace Water
Fire_Curtains_and_Shutters |  |  | Self-Test System | [5 empty] | Replace Panel |  |  | Replace Wet Chemical
Fire_Detection_and_Alarm_System |  |  | Other | [5 empty] | Replace Sounder |  |  | Supply Cover
Fire_Detection_and_Alarm_Systems_Including_CO | [8 empty] | VESDA - Replace Filter |  |  | Supply Stand
Public_Address_and_Voice_System | [8 empty] | VESDA - Replace Pump |  |  | Supply Signage
Fire_Extinguisher_Maintenance | [8 empty] | Zone Plan |  |  | Other
Fire_Hydrants | [8 empty] | Other
Fire\Smoke_Dampers_
Sprinkler_System_Inspections
Suppression_System_Room_Integrity_Test
Suppression_System_Test