## Findings
Type | Severity | Short Description | Details | Recommended Actions | Document Reference | Page Reference | Number of Occurences

## Version Notes
Template version | 1.0
Template Type | Default
Column heading | Explanation | Data type | Example | Mandatory
Type | The type of finding | (See Types below) | Recommendation | Yes
Severity | The severity code of this Finding | (See Severity Codes below) | B - Short term - within 3 months | For Defect/Hazard only
Short Description | A short description including the advised priority & timescale (i.e. 2B) | String | 2B - Equipment is being stored near staircase | Yes
Details | A full text description - please include asset and location if known | String | Location: East staircase in the second floor landing and ground floor | No
Recommended Actions | The recommended actions laid out in the risk assessment report | String | Move the equipment stored in listed places | No
Document Reference | The reference number for a document which contains the finding, where applicable | String | DOC-1234 | No
Page Reference | The page number within the Document which contains the finding where the finding can be seen, where applicable | String | Page 5 | No
Number of Occurences | The number of occurences of the issue/situation identified by the finding | Integer | 12 | No (1 assumed if omitted)
Types
Satisfactory |  | Satisfactory is to be used for any finding/remedial completed during visit
Recommendation |  | Recommendation is for any recommended works
Defect/Hazard |  | Defect/Hazard is for any significant findings that are a hazard/defect
Severity Codes
A - Immediate
B - Short term - within 3 months
C - Medium term - within 12 months
D - Long term - at the time of upgrading or refurbishment