## Slide 1: Training: INVIDA – Dashboard
Audience: Internal Teams
Start here:
Add / Edit / Remove gauges

## Slide 2: Add / edit gauges
Navigate to Dashboard
Add new gauge
Expand
Edit
Remove
Update
Next slide:
Gauges type menus

## Slide 3: Gauge type menus
Compliance
Gauges
Library
Gauges
Permits
Gauge (N/A)
Portfolio
Gauges
Jobs
Gauges
Tickets
Gauges
Not available
Not available
Not available
Not yet available
Not yet available
Not yet available
Not yet available
Not yet available
Not yet available
Not yet available
Not yet available
Back to:
Add / Edit /
Remove gauges

## Slide 4: Compliance gauges
Return to Menu
Click on images below to zoom in / out
Use to give an at-a-glance overview of compliance percentages for set locations
Use to see compliance trends over set periods
Use to see trends in overdue inspections
over set periods
Use to see trends in frequency of open findings
over set periods
Use to see at-a-glance overview of frequences of findings severity

## Slide 5: Library gauges
Return to Menu
Click on images below to zoom in / out
Use to see at-a-glance frequencies of library document sources
Use to see at-a-glance frequencies of library downloads

## Slide 6: Permits gauges
Return to Menu
Click on images below to zoom in / out

## Slide 7: Portfolio gauges
Return to Menu
Click on images below to zoom in / out
Use to see at-a-glance frequencies relating to assets
Use to see trends relating to assets

## Slide 8: Jobs gauges
Return to Menu
Click on images below to zoom in / out
Use to see frequencies of scheduled Job assignments
Use to see comparison of costs
Use to see trends in cost over set periods
Use to see trends and comparisons in completed Jobs
Use to compare frequencies of Jobs due
Use to compare trends in Jobs due
Use to compare frequencies of Jobs due across locations
Use to see trends in Jobs due
Use to compare trends in overdue Jobs
Use to gain insights into PPM Jobs due, overdue etc.
Use to gain insights into Reactive Jobs due, overdue etc.

## Slide 9: Tickets gauges
Return to Menu
Click on images below to zoom in / out
Use to gain insights into Tickets Open, Complete etc.
Use to see trends in Tickets over set periods
Use to see frequencies of Tickets within a set period
Use to see trends in Tickets due over a set period
Use to see trends in Tickets open over a set period

## Slide 11: Compliance - % Compliance
Hover over section to show %
Use to give an at-a-glance overview of compliance percentages for set locations

## Slide 12: Compliance - % Compliance history
Hover over a bar to show date and %
Set date range
Use to see compliance trends over set periods

## Slide 13: Compliance - Compliance overdue inspections …
Use to see trends in overdue inspections over set periods
Hover over a bar to show date and frequency
Set date range

## Slide 14: Compliance – Open findings
Use to see trends in frequency of open findings over set periods
Hover over a bar to show date and frequency
Set date range

## Slide 15: Compliance – Open findings by severity
Use to see at-a-glance overview of frequencies of findings severity
Hover over a section to show frequency

## Slide 16: Library – Doc totals by source
Use to see at-a-glance frequencies of library document sources
Hover over section to show frequency

## Slide 17: Library – Top 10 doc downloads
Use to see at-a-glance frequencies of library downloads
Hover over section to show frequency

## Slide 18: Permits – Awaiting approval
NOT YET AVAILABLE

## Slide 19: Permits – Awaiting approval (24hrs)
NOT YET AVAILABLE

## Slide 20: Permits – Declined requests
NOT YET AVAILABLE

## Slide 21: Permits – Permit returns overdue
NOT YET AVAILABLE

## Slide 22: Permits – Permit to work management
NOT YET AVAILABLE

## Slide 23: Permits – Permits granted for today
NOT YET AVAILABLE

## Slide 24: Permits – Permits issued
NOT YET AVAILABLE

## Slide 25: Permits – Returns not uploaded
NOT YET AVAILABLE

## Slide 26: Portfolio – Asset/system Records
Hover over section to show frequency
Change grouping
Use to see at-a-glance frequencies relating to assets

## Slide 27: Portfolio – Asset/system Records by Date
Hover over bar to show frequencies
Set date range & grouping
Use to see trends relating to assets

## Slide 28: Jobs – Job Assignments Scheduled
Hover to show frequencies
Use to see frequencies of scheduled Job assignments
To view your team only, group by Team and de-select all unwanted by clicking dots above.

## Slide 29: Jobs – Job Costs
Hover to show amounts
Use to see comparison of costs

## Slide 30: Jobs – Job Costs by Date
Hover to show amounts
Use to see trends in costs over set periods

## Slide 31: Jobs – Job Complete by Date
Hover to show amounts
Use to see trends and comparison in completed jobs

## Slide 32: Jobs – Job Due
Hover over section to show frequency
Use to compare frequencies of Jobs due

## Slide 33: Jobs – Job Due by Date
Hover over section to show frequencies
Use to compare trends in Jobs due

## Slide 34: Jobs – Jobs Due by Level 1 Region
Hover over bar to show frequencies
Use to compare frequencies of Jobs due across locations

## Slide 35: Jobs – Jobs Open by Date
Hover to show frequencies
Use to compare trends in Jobs due

## Slide 36: Jobs – Jobs Overdue by Date
Hover to show frequencies
Use to compare trends in overdue Jobs

## Slide 37: Jobs – PPM Job Management
Click a number to show Insights and links
Use to gain insights into PPM Jobs Due, Overdue etc.

## Slide 38: Jobs – Reactive Job Management
Click a number to open Insights and links below
Use to gain insights into Reactive Jobs Due, Overdue etc.

## Slide 39: Tickets – Ticket Management
Click a number to open Insights and links
Use to gain insights into Tickets Open, Complete etc.
Note: Tickets do not have SLAs attached; therefore, no data re Approaching Failure, Overdue etc.

## Slide 40: Tickets – Tickets Complete by Date
Hover to show frequencies
Use to see trends in Tickets over set periods

## Slide 41: Tickets – Tickets Due
Hover to show frequencies
Use to see frequencies of Tickets within a set period

## Slide 42: Tickets – Tickets Due by Date
Hover to show frequencies
Use to see trends in Tickets due over a set period

## Slide 43: Tickets – Tickets Due by Team
NOT AVAILABLE

## Slide 44: Tickets – Tickets Open by Date
Hover to show frequencies
Use to see trends in Tickets open over a set period

## Slide 45: Tickets – Tickets Overdue by Date
NOT AVAILABLE

## Slide 46: Tickets – Tickets Required by Date
NOT AVAILABLE