## Findings
Type | Severity | Short Description | Details | Recommended Actions | Document Reference | Page Reference | Number of Occurences

## Version Notes
Template version | 1.0
Template Type | Default
Column heading | Explanation | Data type | Example | Mandatory
Type | The type of finding | (See Types below) | Defect/Hazards | Yes
Severity | The severity code of this Finding | (See Severity Codes and which are to be used below) | B - Fix within 3 months | For Defect/Hazard only
Short Description | A short description | (See Short Descriptions on first page) | Dead Leg | Yes
Details | A full text description - please include asset and location if known | String | During the annual inspection, it was observed that a dead leg removal is required. (Add asset/location if known) | No
Recommended Actions | The recommended actions laid out in the inspection report | String | Remove dead leg | No
Document Reference | The reference number for a document which contains the finding, where applicable | String | DOC-1234 | No
Page Reference | The page number within the Document which contains the finding where the finding can be seen, where applicable | String | Page 5 | No
Number of Occurences | The number of occurences of the issue/situation identified by the finding | Integer | 12 | No (1 assumed if omitted)
Types
Satisfactory
Recommendation |  | Infrequently Used, Logbook, Management & Temperature are to be added as (Recommendations)
Defect/Hazard |  | All other short descriptions are to be added as (Defect/Hazards)
Severity Codes
D - Immediate
C - Fix within 1 month
B - Fix within 3 months
Short Descriptions
Backflow Protection
Dead End
Dead Leg
Debris/Fouling/Scale
Expansion Vessel
Flexible Connection
Fluid Category
Infrequently Used
Lagging/Insulation
Logbook
Temperature
Open Vent / Expansion Pipe
Management
Calorifier/Water Heater
Cold Water Storage Tank