## Findings
Type | Severity | Short Description | Details | Recommended Actions | Document Reference | Page Reference | Number of Occurences | Time Qualified Defect | Affects Compliance | Source of Action

## Version Notes
Template version | V2.0
Template Type | Default
Column heading | Explanation | Data type | Example | Mandatory
Type | The type of finding | (See Types below) | Recommendation | Yes
Severity | The severity code of this Finding | (See Severity Codes below) |  | For Defect/Hazard only
Short Description | A short description | Please select the source of action from J2 on the first sheet, and then select the appropriate finding in column C | Repair / Replace Tap | Yes
Details | A full text description - please include asset and location if known | String | Water fountain is ground floor lobby | No
Recommended Actions | The recommended actions laid out in the inspection report | String | Replace tap on water fountain | No
Document Reference | The reference number for a document which contains the finding, where applicable | String | DOC-1234 | No
Page Reference | The page number within the Document which contains the finding where the finding can be seen, where applicable | String | Page 5 | No
Number of Occurences | The number of occurences of the issue/situation identified by the finding | Integer | 12 | No (1 assumed if omitted)
Time Qualified Defect | Expiry date for the finding to be completed by in line with the severity codes. (This date will cause the inspection/test to become non-compliant if unresolved) | Date | 27/08/2025 | No
Affects Compliance | Indicates whether the Defect or Hazard finding recorded against a Maintenance Job impacts compliance. When importing Findings for Compliance Jobs, the "Affects Compliance" field is always set to "Yes," so any value provided in this column will be ignored. | Boolean | TRUE | No
Types | Affects Compliance
Satisfactory | Yes | Satisfactory is to be used for any finding/remedial completed during visit
Recommendation | No | Recommendation is for any recommended works
Defect/Hazard |  | Defect/Hazard is for any significant findings that are a hazard/defect
Severity Codes
Immediate
High - within 1 month
Moderate - within 3 months
Low - within 12 months
Source of Action | Actuators | Air_Conditioning | Air_Handling_Units | Automated_Doors_and_Gates | Belts | Boilers_and_Heat_Generators | BMS | Burners | Chillers_Water | Chillers_DX | Cold_Rooms_and_Food_Storage | Comms_and_PA_Systems | Compressors | Condensers | Control_Panels | Duct_Work | Evaporators | Fans | Filters | Flues | Fountains_and_Water_Dispensers | Grilles_and_Diffusers | Hazardous_Area_Electrics | Heat_Emitters | Heat_Rejection_Systems | Humidifiers_and_Dehumidifiers | Ice_Machines | Insulation_ | Lighting | Lightning_Protection | Mobility | Motors | Pipework_Systems | Pneumatics | Portable_Equipment | Pumps | Refrigerant_Distribution_Systems_ | Room_Air_Conditioners | RO_Unit | Sanitary_and_Waste_Water_Collection | Security_Systems | Sensors_and_Switching_Devices | Sewage_Treatment | Solar_Panels_\_PV | Split_Systems_Including_Heat_Pumps | Starters | Storage_Tanks | Switches | Terminal_Units | Vacuum_Systems | Valves_Automated_Control | Ventilation | Workplace_Safety_Equipment
Actuators | Replace Motor | Re-gas | Repair / Replace Heating Coil | Repair / Replace Motor | Replace Belts | Replace Heat Exchanger | Replace Sensors | Replace PCB | Replace / Repair Coil | Replace PCB | Replace PCB | Repair / Replace PCB | Compressor Replacement | Repair / Replace Coil | Replace Breaker | Install Access Hatch | Clean / Replace Filter | Repair / Replace Blades | Replace | Repair / Replace Section | Repair / Replace Tap | Recalibrate Air Direction | Repair / Replace | Repair / Replace Unit | Repair / Replace Heat Exchanger | Replace Heating Element | Repair / Replace Compressor | Repair / Replace | Replace Controller / PCB / Ballast | Improve Bonding | Other | Rewind | Replace Section | Replace Section | Repair / Replace | Replace Pump Head | Repair Leak / Recover Refrigerant / Re-gas | Clean Coil | Filters | Clean Tanks | Replace Sensor | Repair / Replace | Repair / Replace | Clean | Replace PCB | Repair / Replace | Clean / Chlorinate | Repair / Replace First Fix | Repair / Replace First Fix | Decontaminate Pipework | Repair / Replace Actuator | Re-Balance | Repair / Replace
Air_Conditioning | Replace Actuator | Replace System | Repair / Replace Cooling Coil | Repair / Replace Sensor | Re-Tension Belts | Descale Heat Exchanger | Reconfigure Graphics | Probes / Electrodes | Repair Refrigerant Leak and Re-gas | Replace / Repair Coil | Replace / Repair Coil | Repair / Replace Amplifier | Compressor Repair | Refrigerant Recharge | Replace Contactor | Clean | Replace / Repair Condense Pump | Repair / Replace Inverter | Test | Replace Seals | Repair / Replace Chiller Unit | Clean | Other | Repair / Replace Fan Motor | Repair / Replace Motor | Other | Replace PCB | Install | Replace Diffuser / Cover | Remedials to Earth Pit - Drainage |  | Repair / Replace | Increase Diameter | Increase Diameter | Other | Rewind | Install Leak Detection | Remediate Vent Outlet | Membrane | Clean / Replace Filter | Recommission | Other | Other | Install Bird Proofing | Replace / Repair Coil | Other | Replace Section | Repair / Replace Second Fix | Repair / Replace Second Fix | Install New Flask | Recommission | Repair / Replace | Other
Air_Handling_Units | Replace Actuator Component | Requires Manufacturer Intervention | Repair / Replace Frost Coil | Realign Door / Gate | Other | Replace Ignition Probe / Electrode / Thermocouple | Reprogramme Head End | Other | Repair / Replace Inverter | Repair Refrigerant Leak and Re-gas | Repair Refrigerant Leak and Re-gas | Repair / Replace Speaker | Other | Leak Repair | Repair / Replace Controller | Replace Flexible Duct | Repair / Replace Air Direction Blade / Motor | Repair / Replace Motor | Other | Recalibrate / Balance Dampers | Repair / Replace Water Heater | Repair / Replace |  | Repair / Replace TRV | Repair / Replace PCB or Controller |  | Other | Provide Jacket | Replace Lamp / LED Cluster | Remedials to Earth Pit - High Impedance |  | Replace Bearings | Reduce Diameter | Reduce Diameter |  | Replace Pump | Repair / Replace Distribution Component | Repair / Replace | Pump | Other | Replace Sounder |  |  | Repair / Replace Inverter | Repair Refrigerant Leak and Re-gas |  | Repair / Replace Ladder | Other | Other | Repair / Replace Vac Pump | Other | Other
Automated_Doors_and_Gates | Rewire | Other | Repair / Replace Trap | Repair / Replace Runners |  | Replace PCB | Replace Controller |  | Requires Manufacturer Intervention | Repair / Replace Inverter | Repair / Replace Inverter | Rewire |  | Replace PRV and Certificate | Upgrade | Seal | Repair / Replace Fan Motor | Other |  | Clean | Other | Other |  | Repair / Replace PCB | Other |  |  | Other | Other | Additional Earthing Point |  | Other | Add Isolation | Add Isolation |  | Repair / Replace | Other | Other | Other |  | Redcare Connection Remediation |  |  | Resolve Comms Issue | Repair / Replace Inverter |  | Repair / Replace Inspection Hatch |  |  | Other
Belts | Lubricate |  | Replace Filters | Other |  | Replace Expansion Vessel | Upgrade Controller |  | Repair / Replace Control or Isolating Valves | Requires Manufacturer Intervention | Requires Manufacturer Intervention | Other |  | Replace PCB | Other | Cap-Off | Replace Fan |  |  | Replace Installation |  |  |  | Rewire | [8 empty] | Re-route | Re-route |  | Other |  |  |  |  | Repair / Replace Control Panel |  |  | Damaged Panel | Requires Manufacturer Intervention |  | Repair / Replace Mesh
Boilers_and_Heat_Generators | Other |  | Replace Belts |  |  | Other | Other |  | Replace PRV and Certificate | Repair / Replace Control or Isolating Valves | Repair / Replace Control or Isolating Valves |  |  | Repair / Replace Compressor |  | Other | Other |  |  | Other |  |  |  | Resolve Comms | [8 empty] | Other | Other | [6 empty] | Other |  |  | Flora and Fauna Control | Repair / Replace Control or Isolating Valves |  | Replace Tank
BMS |  |  | Replace Sensors | [5 empty] | Repair / Replace Chiller Pump | Replace PRV and Certificate | Replace PRV and Certificate |  |  | Other | [9 empty] | Other | [19 empty] | Cables, Connections and Containment | Replace PRV and Certificate |  | Other
Burners |  |  | Repair Thermal Wheel | [5 empty] | Repair / Replace Compressor | Repair / Replace Compressor | Repair / Replace Compressor | [32 empty] | Drone Survey | Repair / Replace Compressor
Chillers_Water |  |  | Repair Thermal Wheel | [5 empty] | Other | Other | Repair / Replace Entrapment Alarm | [32 empty] | Controls | Repair / Replace Motor
Chillers_DX |  |  | Other | [7 empty] | Repair / Replace Emergency Door Release | [32 empty] | Other | Repair / Replace Fan
Cold_Rooms_and_Food_Storage | [10 empty] | Fabric Repair to Cold Room | [33 empty] | Recommission
Comms_and_PA_Systems | [10 empty] | Other | [33 empty] | Requires Manufacturer Intervention
Compressors | [44 empty] | Other
Condensers
Control_Panels
Duct_Work
Evaporators
Fans
Filters
Flues
Fountains_and_Water_Dispensers
Grilles_and_Diffusers
Hazardous_Area_Electrics
Heat_Emitters
Heat_Rejection_Systems
Humidifiers_and_Dehumidifiers
Ice_Machines
Insulation_
Lighting
Lightning_Protection
Mobility
Motors
Pipework_Systems
Pneumatics
Portable_Equipment
Pumps
Refrigerant_Distribution_Systems_
Room_Air_Conditioners
RO_Unit
Sanitary_and_Waste_Water_Collection
Security_Systems
Sensors_and_Switching_Devices
Sewage_Treatment
Solar_Panels_\_PV
Split_Systems_Including_Heat_Pumps
Starters
Storage_Tanks
Switches
Terminal_Units
Vacuum_Systems
Valves_Automated_Control
Ventilation
Workplace_Safety_Equipment