## Findings
Type | Severity | Short Description | Details | Recommended Actions | Document Reference | Page Reference | Number of Occurences | Time Qualified Defect | Affects Compliance | Source of Action

## Version Notes
Template version | V2.0
Template Type | Default
Column heading | Explanation | Data type | Example | Mandatory
Type | The type of finding | (See Types below) | Recommendation | Yes
Severity | The severity code of this Finding | (See Severity Codes below) |  | For Defect/Hazard only
Short Description | A short description | Please select the source of action from J2 on the first sheet, and then select the appropriate finding in column C | C&C | Yes
Details | A full text description - please include asset and location if known | String | During the inspection, it was observed that the internal condition was poor, and requires a clean and chlorination | No
Recommended Actions | The recommended actions laid out in the inspection report | String | Clean & Chlorination | No
Document Reference | The reference number for a document which contains the finding, where applicable | String | DOC-1234 | No
Page Reference | The page number within the Document which contains the finding where the finding can be seen, where applicable | String | Page 5 | No
Number of Occurences | The number of occurences of the issue/situation identified by the finding | Integer | 12 | No (1 assumed if omitted)
Time Qualified Defect | Expiry date for the finding to be completed by in line with the severity codes. (This date will cause the inspection/test to become non-compliant if unresolved) | Date | 05/08/2026 | No
Affects Compliance | Indicates whether the Defect or Hazard finding recorded against a Maintenance Job impacts compliance. When importing Findings for Compliance Jobs, the "Affects Compliance" field is always set to "Yes," so any value provided in this column will be ignored. | Boolean | TRUE | No
Types | Affects Compliance
Satisfactory | Yes | Satisfactory is to be used for any finding/remedial completed during visit
Recommendation | No | Recommendation is for any recommended works
Defect/Hazard |  | Defect/Hazard is for any significant findings that are a hazard/defect
Severity Codes
D - Fix within 1 month
C - Fix within 3 months
B - Fix within 6 months
Source_of_Action | Biocide_Dosing | Calorifier_Inspection | Cistern_Inspection | Embedded_Routine_Tasks | Other | Softener_Service | TMD_Service
Biocide_Dosing | Chemical Stock | Combustion | Air Vent | Control Measures Remediation - No Access | Other | Brine Tank - Repair | Unit Fail
Calorifier_Inspection | Controls Repair/Replacement | Controls | Clean & Chlorination | Control Measures Remediation - Out of Spec CWS Temperature |  | Brine Tank - Replace | Failsafe Fail (after Isolation)
Cistern_Inspection | Water Meter Signal | Debris/Fouling/Scale | Inlet/Outlet Configuration | Control Measures Remediation - Out of Spec HWS Temperature |  | Brine Tank - Dirty | Isolation Fail
Embedded_Routine_Tasks |  | De-Stratification Pump | Inlet Valve | Control Measures Remediation - Very low HWS temperature |  | Pipework | Access (Unit Concealed)
Other |  | Drain | Insect/Vermin Screen | Control Measures Remediation - Flush outles broken |  | Controls
Softener_Service |  | Electric Element | Lagging/Insulation |  |  | Resin Bed
TMD_Service |  | Isolation | Lid/Access Hatch |  |  | Seals
|  | Primary Heating Coil | Mesh Weir
|  | Repairs | Open Vent
|  | Return Pump | Overflow/Warning Pipe
|  | Seals | Repair
Replace
Seals
Internal Support Struts